| Date of assessment/survey | Assessment completed by: |  |  |  |
| --- | --- | --- | --- | --- |
| Area assessed/surveyed | Date distributed to safety/IC: |  |  |  |
| Project no. | Project name: |  |  |  |
|  | Yes | No | NA | List time, documentation or action/follow-up as needed |
| # A. EXITS |  |  |  |  |
| 1. Exits provide free and unobstructed egress through construction. |  |  |  |  |
| 2. Alternative exits are clearly identified. |  |  |  |  |
| 3. Means of egress in construction area inspected daily. |  |  |  |  |
| 4. Free & unobstructed access to ED/Services and for emergency forces. |  |  |  |  |
| # B. FIRE EQUIPMENT AND SAFETY |  |  |  |  |
| 5. .Fire alarms, detection, and suppression systems are in an operational function. |  |  |  |  |
| 6. Fire alarms, detection, and suppression systems are not impaired. |  |  |  |  |
| 7. Temporary fire alarm, detection, and suppression systems been inspected and tested monthly. |  |  |  | Date: |
| 8. Training and additional fire equipment been provided for personnel. |  |  |  |  |
| 9. Power has been properly secured at the end of each workday. |  |  |  |  |
| 10. No smoking policy been implemented in and adjacent to the construction areas. |  |  |  |  |
| 11. Construction areas are free of storage and housekeeping materials, food waste, and debris for daily operations to reduce flammable and combustible fire load of the building; floor area leading to/from construction site cleaned daily. |  |  |  | Date or time: |
|  | Yes | No | NA | List time, documentation or action/follow-up as needed |
| 12. There has been a minimum of two fire drills conducted per shift per quarter. |  |  |  | Date: |
| 13. Number of hazard surveillance inspections in construction area has increased. |  |  |  | Last date or time: |
| - Safety education programs have been conducted to ensure awareness of any ILS Safety Code deficiencies and construction hazards. |  |  |  | Date: |
| # C. HAZARD SURVEILLANCE and INFECTION PREVENTION SAFETY |  |  |  |  |
| 15. Power is properly secured at the end of each workday. |  |  |  |  |
| 16. Hand and safety rails are in place and in good condition. |  |  |  |  |
| 17. Extension cords are grounded and in good condition. |  |  |  |  |
| 18. Power tools are in good condition. |  |  |  |  |
| 19. Workers wearing required identification and hard hats are used as required. |  |  |  |  |
| 20. Cutting and welding operations are properly and safely conducted and have appropriate hot work permits. |  |  |  |  |
| 21. Documentation of worker instruction in Right-To-Know, Infection Control and Fall hazards is available if requested. |  |  |  | Date of request: |
| 22. All scaffolding complies with OSHA requirements (1926.451). |  |  |  |  |
| 23. Construction site secure and properly isolated from fresh air intakes. |  |  |  |  |
| 24. Lock out / tag out procedures are used as appropriate |  |  |  |  |
|  | Yes | No | NA | List time, documentation or action/follow-up as needed |
| 25. Materials used (i.e., fire retardants) comply with necessary safety regulations. |  |  |  |  |
| 26. Construction barriers maintain negative pressure relationships. |  |  |  |  |
| 27. Workers demonstrate compliance with traffic patterns. |  |  |  |  |
| 28. Workers comply with use of PPE (Hard hats, eye protection etc) as needed. |  |  |  |  |
| 29. HEPA filtration units, HEPA vacuum equipment, &/or continuous use of exhaust fans demonstrate they are functioning appropriately. |  |  |  |  |
| 30. Exhaust ducts sealed/capped as agreed by ICRA. |  |  |  |  |
| 31. Construction area doors are closed and gaskets & hardware are intact. |  |  |  |  |
| 32. Construction carts transporting debris are covered and consistent with agreement designed to minimize airborne particulate matter from debris. |  |  |  |  |
| 33. All windows and doors remain closed to prevent circulation of dust/debris. |  |  |  |  |
| 34. Walk-off mats, adhesive strips are clean and changed sufficiently, or construction exit cleaned sufficiently to maintain clean entry/exits. |  |  |  |  |
| 35. No signs of water leakage or pests. |  |  |  |  |
| 36. Ceiling tiles replaced when space not being accessed. |  |  |  |  |

Additional comments

Project Manager 		Date

Contractor 		Date

Sent to Safety &/or IC Committee 		Date